## Summary
Name - Shri Markandey Solapur Sahakari Rugnalaya & Research Centre |  |  | Quotation Date:
Address - Final Plot No. 19/2, Paccha peth, Solapur, Maharashtra 413005 |  |  | Reference no:
Project Costing
ITEM NO. | ITEM DESCRIPTION | ELV
SECTION | Particular | SUPPLY & ERECTION TOTAL AMOUNT (₹) | GST %
ELV SYSTEM
1 | NETWORKING - NEW BUILDING | ₹ 0 | Extra
2 | NETWORKING - OLD Building | ₹ 0 | Extra
3 & 4 | WIRELESS - NEW + OLD BUILDING | ₹ 0 | Extra
5 | PA System BOQ | ₹ 0 | Extra
6 | Nurse Call System | ₹ 0 | Extra
7 | EPABX System | ₹ 0 | Extra
FINAL TOTAL |  | ₹ 0
Commercial Terms & Conditions :
Sr. No. | Particulars
1 | Total Cost of all Materials & Labour | ₹ | ₹ 0
2 | GST Extra | %
3 | Transist Inssurance on materials | ₹
4 | Final Total of Entire Projcts | ₹ | ₹ 0
5 | Validity of Quotation | Days
6 | Project Complition Period Minimun (Approx.) | Days
7 | Warranty of suplied materials | Months
8 | Payment Terms | Days
NOTE:
1. Any civil work will not be in scope of work
2. Consider additional items if required as per understanding with approved make only
3. Quote approved makes only

## Networking - New Building
1. Data Networking - New Building
Sr. No. | Description | Specification | Qty | UOM | Unit Rate | Amount | GST | Approved Make
A | Active+ Passive Components
1 | Cat 6A I/O | Cat 6A UTP Fast Terminating Jack, Blue (for Data). | 900 | nos |  | 0 | 18 | Digisol/D-Link/Belden
2 | Patch Panel | 24 Port Patch Panel, Unloaded. | 24 | nos |  | 0 | 18 | Digisol/D-Link/Belden
3 | Patch Cord | Cat 6A UTP Patch Cord, LSZH, 1 mtr, Blue. | 450 | nos |  | 0 | 18 | Digisol/D-Link/Belden
4 | Patch Cord | Cat 6A UTP Patch Cord, LSZH, 2 mtr, Blue. | 250 | nos |  | 0 | 18 | Digisol/D-Link/Belden
5 | Faceplate | Faceplate, Dual Port. | 250 | nos |  | 0 | 18 | Digisol/D-Link/Belden
6 | SMB | Surface Mount Box. | 150 | nos |  | 0 | 18 | Digisol/D-Link/Belden
7 | OFC | 6 Core Single Mode Outdoor Armoured Fiber Cable. | 250 | mtrs |  | 0 | 18 | Digisol/D-Link/Belden
8 | LIU | 12 Port Sliding LIU, Loaded, Single Mode. | 11 | nos |  | 0 | 18 | Digisol/D-Link/Belden
9 | OF Patch Cord | LC-LC Fiber Patch Cord, 2 mtr, Single Mode. | 22 | nos |  | 0 | 18 | Digisol/D-Link/Belden
10 | Pigtails | LC Pigtails, 1 mtr, Single Mode. | 132 | nos |  | 0 | 18 | Digisol/D-Link/Belden
11 | L3 Fully Managed Core Switch | 20 x Giga Ethernet + 4 x Combo 1000BASE-T/SFP + 4 x 10G SFP+ Layer 3 Stackable Managed Switch. | 1 | nos |  | 0 | 18 | Digisol/D-Link/Netgear
12 | L2 Smart Switch (Data). | 24 x Giga Ethernet + 4 x 10G SFP+ Smart Managed Switch. | 24 | nos |  | 0 | 18 | Digisol/D-Link/Netgear
13 | 10G SFP+ Module | 10GBASE-LR SFP+ Transceiver (10Km). | 22 | nos |  | 0 | 18 | Digisol/D-Link/Netgear
Total A | [5 empty] | 0
B | Firewall
1 | Firewall | 22 x GE RJ45 Ports (incl 2 x WAN Ports, 1 x DMZ Port, 1 x Mgmt Port, 2 x HA Ports, 16 x Switch Ports with 4 x SFP Port shared media), 4 SFP Ports, 2 x 10G SFP+ Links, Dual Power Supplies for Redundancy. | 1 | no |  | 0 | 18 | Fortigate/Sophos/Paloalto
2 | Subscription - 3 Yrs | 3 Year Unified Threat Protection (UTP) (IPS, Advanced Malware Protection, Application Control, Web Filtering, Antispam Service, and 24x7 FortiCare). | 1 | no |  | 0 | 18 | Fortigate/Sophos/Paloalto
Total B | [5 empty] | 0
C | Server Room - Fire Suppression System
1 | Fire Suppression System | Fire Suppression for Server Room (100 sq ft). VESDA Compliant. This Includes - 600 x 600mm Metal Insulated Tiles / 18' Pedastels to hold floor Tiles of load 1000 kgs/sq.m / Dual Base Tile Lifter / ESSL F22 - Biometric Reader with Controller, Software and Electromegnatic Lock for Single Door with Exit Switch / Water Leakage Detection System with Main Panel to display the leakage in the area along with Detection Probe / Rodent Repellent System with Accessories / Novac 1230 based Fire Suppression System only for Server Room. Incl - Gas Cylinder, Nozzels, Sensors & Detectors, Hooter with Strobe, Gas Release Panel, Exit Switch and Gas Pipping. | 1 | no |  | 0 | 18 | Novac 1230 based which is UL Certified and FM Approved
Total C | [5 empty] | 0
D | Rack + Components
1 | 42U Server Rack | 42U (800 x 1000mm) Server Rack - 4 x Castors / 4 x Fans / Front Glass Door / Rear Perforated Panel / 2 x Side Panels / 2 x 6 Soc 5/15amp PDU with MCB / 6 x Horizontal Cable Mgr with Cover / 5 x Hardware Pack / 2 x Fixed Tray / 1 x Earthing Kit. | 1 | no |  | 0 | 18 | D-Link/Netrack/Wallrack
2 | 9U Rack | 9U (550 x 500mm) Network Rack - 2 x Fan / Front Glass Door / 1 x 6 Soc 5amp PDU with MCB / 3 x Horizonal Cable Mgr with Cover / 2 x Hardware Pack. | 7 | nos |  | 0 | 18 | D-Link/Netrack/Wallrack
3 | 12U Rack | 12U (550 x 600mm) Network Rack - 2 x Fan / Front Glass Door / 1 x 6 Soc 5amp PDU with MCB / 3 x Horizonal Cable Mgr with Cover / 3 x Hardware Pack. | 3 | nos |  | 0 | 18 | D-Link/Netrack/Wallrack
Total D | [5 empty] | 0
E | UPS + Components
1 | 10KVA Online UPS | 10KVA Online Rackmount UPS, 230V, 1 x Hard Wire 3-Wire (1P+N+E) Outlet, Intelligent Card Slot, No Battery, W/O Rail Kit. | 1 | no |  | 0 | 18 | Schneider/Vertiv/Delta
2 | SMF Battery | 42Ah SMF Battery (Upto 2 hours Power Backup). | 20 | nos |  | 0 | 28 | Exide/Amaron/Microtek
3 | Accessories | Battery Rack + Interconnect Links. | 1 | no |  | 0 | 18 | As per standard
4 | SNMP | SNMP Card (for Alerts, will need SIM). | 1 | no |  | 0 | 18 | Schneider/Vertiv/Delta
5 | Kit | Rackmount Kit. | 1 | no |  | 0 | 18 | Schneider/Vertiv/Delta
Total E | [5 empty] | 0
F | Labour Charges
1 | Termination | Cat 6A I/O Termination Charges | 900 | nos |  | 0 | 18
2 | Mounting | Patch Panel Mounting Charges | 24 | nos |  | 0 | 18
3 | Installation | Faceplate Fixing Charges. | 250 | nos |  | 0 | 18
4 | Installation | Surface Mount Box Fixing Charges | 150 | nos |  | 0 | 18
5 | Laying | Fiber Optic Cable Laying Charges | 250 | mtrs |  | 0 | 18
6 | Mounting | LIU Mounting Charges | 11 | nos |  | 0 | 18
7 | Splicing | Fiber Splicing Charges | 132 | nos |  | 0 | 18
8 | Installation | L3 + L2 Switches Installation + Configuration Charges | 1 | proj |  | 0 | 18
9 | Installation | Firewall Installation + Configuration Charges | 1 | no |  | 0 | 18
10 | Installation | Fire Suppression System Installation + Config Charges | 1 | no |  | 0 | 18
11 | Mounting | 42U Rack Installation Charges | 1 | no |  | 0 | 18
12 | Mounting | 6U to 12U Rack Installation Charges | 11 | nos |  | 0 | 18
13 | Installation | UPS + Batteries Installation + Configuration Charges | 1 | no |  | 0 | 18
14 | Management | Project Management (Incl Documentation + Material Transportation Charges) | 1 | proj |  | 0 | 18
Total F | [5 empty] | 0
FINAL TOTAL (A to F) | [5 empty] | 0

## Networking - Old Building
2. Data Networking - Old Building
Sr. No. | Description | Specification | Qty | UOM | Unit Rate | Amount | GST | Approved Make
A | Active+ Passive Components
1 | Cat 6 I/O | Cat 6 UTP Fast Terminating Jack, Blue (for Data). | 400 | nos |  | 0 | 18 | Digisol/D-Link/Belden
2 | Patch Panel | 24 Port Patch Panel, Unloaded. | 9 | nos |  | 0 | 18 | Digisol/D-Link/Belden
3 | Patch Cord | Cat 6 UTP Patch Cord, LSZH, 1 mtr, Blue. | 200 | nos |  | 0 | 18 | Digisol/D-Link/Belden
4 | OFC | 6 Core Single Mode Outdoor Armoured Fiber Cable. | 250 | mtrs |  | 0 | 18 | Digisol/D-Link/Belden
5 | LIU | 12 Port Sliding LIU, Loaded, Single Mode. | 7 | nos |  | 0 | 18 | Digisol/D-Link/Belden
6 | OF Patch Cord | LC-LC Fiber Patch Cord, 2 mtr, Single Mode. | 14 | nos |  | 0 | 18 | Digisol/D-Link/Belden
7 | Pigtails | LC Pigtails, 1 mtr, Single Mode. | 84 | nos |  | 0 | 18 | Digisol/D-Link/Belden
8 | L2 Smart Switch (Data). | 24 x Giga Ethernet + 4 x 10G SFP+ Smart Managed Switch. | 9 | nos |  | 0 | 18 | Digisol/D-Link/Netgear
9 | 10G SFP+ Module | 10GBASE-LR SFP+ Transceiver (10Km). | 14 | nos |  | 0 | 18 | Digisol/D-Link/Netgear
Total A | [5 empty] | 0
B | Rack + Components
1 | 9U Rack | 9U (550 x 500mm) Network Rack - 2 x Fan / Front Glass Door / 1 x 6 Soc 5amp PDU with MCB / 3 x Horizonal Cable Mgr with Cover / 2 x Hardware Pack. | 8 | nos |  | 0 | 18 | D-Link/Netrack/Wallrack
Total B | [5 empty] | 0
C | Labour Charges
1 | Termination | Cat 6 I/O Termination Charges | 400 | nos |  | 0 | 18
2 | Mounting | Patch Panel Mounting Charges | 9 | nos |  | 0 | 18
3 | Laying | Fiber Optic Cable Laying Charges | 250 | mtrs |  | 0 | 18
4 | Mounting | LIU Mounting Charges | 7 | nos |  | 0 | 18
5 | Splicing | Fiber Splicing Charges | 84 | nos |  | 0 | 18
6 | Installation | L2 Switches Installation + Configuration Charges | 1 | proj |  | 0 | 18
7 | Mounting | 9U Rack Installation Charges | 8 | nos |  | 0 | 18
8 | Management | Project Management (Incl Documentation + Material Transportation Charges) | 1 | proj |  | 0 | 18
|  | Total C |  |  |  | 0
FINAL TOTAL (A to C) | [5 empty] | 0

## WiFi - New + Old Building
3. WiFi Networking - Old Building
Sr. No. | Description | Specification | Qty | UOM | Unit Rate | Amount | GST | Approved Make
A | Active+ Passive Components
1 | Cat 6 I/O | Cat 6 UTP Fast Terminating Jack, Blue (for Data). | 40 | nos |  | 0 | 18 | Digisol/D-Link/Belden
2 | Patch Cord | Cat 6 UTP Patch Cord, LSZH, 1 mtr, Blue. | 40 | nos |  | 0 | 18 | Digisol/D-Link/Belden
3 | Faceplate | Faceplate, Single Port. | 20 | nos |  | 0 | 18 | Digisol/D-Link/Belden
4 | SMB | Surface Mount Box. | 20 | nos |  | 0 | 18 | Digisol/D-Link/Belden
5 | L2 Smart POE Switch. | 8 x Giga Ethernet POE + 2 x Giga SFP Ports, L2 Smart Managed Switch, 130W POE Budget. | 9 | nos |  | 0 | 18 | Digisol/D-Link/Netgear
6 | WiFi 6 Access Point | WiFi 6 Access Point with Cloud Controller. | 20 | nos |  | 0 | 18 | Digisol/D-Link/Netgear
Total A | [5 empty] | 0
B | Labour Charges
1 | Termination | Cat 6 I/O Termination Charges | 40 | nos |  | 0 | 18
2 | Fixing | Faceplate Fixing Charges | 20 | nos |  | 0 | 18
3 | Fixing | Surface Mount Box Fixing Charges | 20 | nos |  | 0 | 18
4 | Installation | POE Switches Installation + Configuration Charges | 1 | proj |  | 0 | 18
5 | Mounting | WiFi 6 AP Mounting Charges | 20 | nos |  | 0 | 18
6 | Management | Project Management (Incl Documentation + Material Transportation Charges) | 1 | proj |  | 0 | 18
|  | Total B |  |  |  | 0
3. FINAL TOTAL (A + B) | [5 empty] | 0
4. WiFi Networking - New Building
Sr. No. | Description | Specification | Qty | UOM | Unit Rate | Amount | GST | REMARKS
A | Active+ Passive Components
1 | Cat 6 I/O | Cat 6A UTP Fast Terminating Jack, Blue (for Data). | 90 | nos |  | 0 | 18 | Digisol/D-Link/Belden
2 | Patch Cord | Cat 6A UTP Patch Cord, LSZH, 1 mtr, Blue. | 90 | nos |  | 0 | 18 | Digisol/D-Link/Belden
3 | Faceplate | Faceplate, Single Port. | 45 | nos |  | 0 | 18 | Digisol/D-Link/Belden
4 | SMB | Surface Mount Box. | 45 | nos |  | 0 | 18 | Digisol/D-Link/Belden
5 | L2 Smart POE Switch. | 8 x Giga Ethernet POE + 2 x Giga SFP Ports, L2 Smart Managed Switch, 130W POE Budget. | 11 | nos |  | 0 | 18 | Digisol/D-Link/Netgear
6 | WiFi 6 Access Point | WiFi 6 Access Point with Cloud Controller. | 45 | nos |  | 0 | 18 | Digisol/D-Link/Netgear
Total A | [5 empty] | 0
B | Labour Charges
1 | Termination | Cat 6A I/O Termination Charges | 90 | nos |  | 0 | 18
2 | Fixing | Faceplate Fixing Charges | 45 | nos |  | 0 | 18
3 | Fixing | Surface Mount Box Fixing Charges | 45 | nos |  | 0 | 18
4 | Installation | POE Switches Installation + Configuration Charges | 1 | proj |  | 0 | 18
5 | Mounting | WiFi 6 AP Mounting Charges | 45 | nos |  | 0 | 18
6 | Management | Project Management (Incl Documentation + Material Transportation Charges) | 1 | proj |  | 0 | 18
Total B | [5 empty] | 0
4. FINAL TOTAL (A + B) | [5 empty] | 0
FINAL TOTAL ( 3 + 4) | [5 empty] | 0

## PA SYS BOQ
5. Public Address system-New Building
Sr. No. | Description | Specifications | QTY | UOM | Unit Rate | Amount | GST | Approved Make
A | Active Components
1 | PA System | 16 Zone Voice Alarm controller with built-in USB, MP3, AM/FM player, SD Card and 16 zone paging station | 1 | Nos |  | 0 | 18 | Ahuja/Honeywell/Asquare
2 | Ceilling Speaker | 6W ceiling speaker with an excellent audio performance and aesthetic appealing enclosure. This speaker features a high sound pressure level and a wide frequency response and low distortion for high sound level suitable for speech and music reproduction. | 27 | Nos |  | 0 | 18 | Ahuja/Honeywell/Asquare
3 | Wallmount Speaker | wall mount loudspeaker for general purpose applications. It is a full range loudspeaker for speech and music reproduction in shop, department stores school, office, stadium, hotels , restaurants and commercial buildings. | 6 | Nos |  | 0 | 18 | Ahuja/Honeywell/Asquare
4 | Amplifier | These commercial-grade power amplifiers efficiently deliver up to 240 watts of clean, reliable audio for the most demand-ing public address and voice alarm applications. | 1 | Nos |  | 0 | 18 | Ahuja/Honeywell/Asquare
5 | Announcement Desk | 16 Zone Voice Alarm controller with built-in USB, MP3, AM/FM player, SD Card and 16 zone paging station | 1 | Nos |  | 0 | 18 | Ahuja/Honeywell/Asquare
6 | Rack | 9U (550 x 500mm) Network Rack - 2 x Fan / Front Glass Door / 1 x 6 Soc 5amp PDU with MCB / 3 x Horizonal Cable Mgr with Cover / 2 x Hardware Pack. | 1 | Nos |  | 0 | 18 | D-Link/Netrack/Wallrack
TOTAL A | [5 empty] | 0
B | Labour Charges
1 | Installation | Installation and commissioning | 1 | Job |  | 0 | 18
2 | Speaker | Installation charges Speaker | 33 | Nos |  | 0 | 18
3 | Rack | 9U Network Rack-Installation | 1 | Nos |  | 0 | 18
4 | Management | Project Management (Incl Documentation + Material Transportation Charges) | 1 | Project |  | 0 | 18
TOTAL B | [5 empty] | 0
FINAL TOTAL (A + B) | [5 empty] | 0

## NURSE CALL SYS
6. Nurse Call System
SR. | DESCRIPTION | PARTICULARS | QTY | UOM | UNIT RATE | AMOUNT | GST | Approved Make
A | Active + Passive
1 | BED UNIT | Bed Unit With Call & Reset Facility without toilet call facility | 160 | Nos |  | 0 | 12 | Medisystem/Sidhant medical engineering/Digitech
2 | BED UNIT | Bed Unit With Toilet Calling Facility with pool cord | 70 | Nos |  | 0 | 12 | Medisystem/Sidhant medical engineering/Digitech
3 | CONTROL UNIT+DISPLAY | Control Unit with 4 digit digital DISPLAY up to 8 bed | 4 | Nos |  | 0 | 12 | Medisystem/Sidhant medical engineering/Digitech
4 | CONTROL UNIT+DISPLAY | Control Unit with 4 digit digital DISPLAY up to 9-12 bed | 8 | Nos |  | 0 | 12 | Medisystem/Sidhant medical engineering/Digitech
5 | CONTROL UNIT+DISPLAY | Control Unit with 4 digit digital DISPLAY up to 13-16 bed | 6 | Nos |  | 0 | 12 | Medisystem/Sidhant medical engineering/Digitech
6 | CONTROL UNIT+DISPLAY | Control Unit with 4 digit digital DISPLAY 17 to 20 bed | 2 | Nos |  | 0 | 12 | Medisystem/Sidhant medical engineering/Digitech
7 | 2U Rack | 2U Rack for controller | 20 | Nos |  | 0 | 18 | D-Link/Netrack/Wallrack
TOTAL A | [5 empty] | 0
B | Labour Charges |  |  |  |  | 0
1 | Inatallation | Installation and Commissioning | 20 | Nos |  | 0 | 18
2 | Rack | 2U rack Instalation | 20 | Nos |  | 0 | 18
3 | Management | Project Management (Incl Documentation + Material Transportation Charges) | 1 | Project |  | 0 | 18
TOTAL B | [5 empty] | 0
FINAL TOTAL (A + B) | [5 empty] | 0

## EPABX SYSTEM
7. EPABX System-Analog+ Digital Ext.
Sr. No. | DESCRIPTION | PARTICULARS | QTY | UOM | Unit Rate | Amount | GST | Approved Make
A | Active + Passive Components
1 | EPABX SYSTEM | EPABX System Analog + Digital 2 PRI+ 350 Analog Ext+ 8 Digital expandable + PA interface | 1 | Nos |  | 0 | 18 | Syntel Neos/NEC/Alcatel
2 | DIGITAL CONSOLE PHONE | Digital Console 24 Key Phone for Recieption | 2 | Nos |  | 0 | 18 | Syntel Neos/NEC/Alcatel
3 | MDF BOX | 50*50 Pair MDF Box (New Building)-With Krone Module | 10 | Nos |  | 0 | 18 | STD
4 | MDF BOX | 20*20 Pair MDF Box (Old Building)-With Krone Module | 6 | Nos |  | 0 | 18 | STD
5 | MDF BOX | 200*200 Pair MDF Box (Old Building Connectivity)-With Krone Module | 1 | Nos |  | 0 | 18 | STD
6 | MDF BOX | 500*500 Pair MDF Box (System End)-With Krone Module | 1 | Nos |  | 0 | 18 | STD
7 | CABLE | 100 Pair Gellyfilled Unarmoured Telephone Cable | 50 | Mtr |  | 0 | 18 | Usha Martin/Finolex/V-Guard
8 | CABLE | 50 Pair Gellyfilled Unarmoured Telephone Cable | 400 | Mtr |  | 0 | 18 | Usha Martin/Finolex/V-Guard
9 | CABLE | 20 Pair Gellyfilled Unarmoured Telephone Cable | 250 | Mtr |  | 0 | 18 | Usha Martin/Finolex/V-Guard
10 | TELEPHONE INSTRUMENTS | Analogue telephone instrument with line cord & coil cord, without rosette | 250 | Nos |  | 0 | 18 | Panasonic/Beetel/Siemens
11 | I/O BOX | Telephone I/O Box | 250 | Nos |  | 0 | 18 | STD
12 | RACK | 9U (550 x 500mm) Network Rack - 2 x Fan / Front Glass Door / 1 x 6 Soc 5amp PDU with MCB / 3 x Horizonal Cable Mgr with Cover / 2 x Hardware Pack. | 1 | Nos |  | 0 | 18 | D-Link/Netrack/Wallrack
13 | CABLE | Cat-6 UTP Cable for connectivity (system to system end MDF ) | 150 | Mtr |  | 0 | 18 | D-Link/Digisol/Belden
TOTAL A | [5 empty] | 0
B | Labour Charges
1 | INSTALLATION | Installation and Commissioning | 1 | Nos |  | 0 | 18
2 | INSTALLATION | 500*500 Pair MDF-Installation | 1 | Nos |  | 0 | 18
3 | INSTALLATION | 200*200 Pair MDF-Installation | 1 | Nos |  | 0 | 18
4 | INSTALLATION | 50*50 Pair MDF-Installation | 10 | Nos |  | 0 | 18
5 | INSTALLATION | 20*20 Pair MDF-Installation | 6 | Nos |  | 0 | 18
6 | LYING | 100 Pair Gellyfilled Unarmoured Telephone Cable-Lying | 50 | Mtr |  | 0 | 18
7 | LYING | 50 Pair Gellyfilled Unarmoured Telephone Cable-Lying | 400 | Mtr |  | 0 | 18
8 | LYING | 20 Pair Gellyfilled Unarmoured Telephone Cable-Lying | 250 | Mtr |  | 0 | 18
9 | INSTALLATION | I/O Box Installation | 250 | Nos |  | 0 | 18
10 | MANAGEMENT | Project Management (Incl Documentation + Material Transportation Charges) | 1 | Project |  | 0 | 18
11 | RACK | 9U Network rack -Installation | 1 | Nos |  | 0 | 18
TOTAL B | [5 empty] | 0
FINAL TOTAL (A + B) | [5 empty] | 0