TENDER DOCUMENT

FOR

SUPPLY, INSTALLATION, TESTING & COMMSIONING OF

1010 KVA DG SET WITH SYNCH PANEL AND  EXHAUST PIPING

PROJECT: - Solapur Sahakari Rugnalaya Niyamit

on F.P. No. 19/2, Pachha Peth,

Solapur 413005.

CLIENT: -M/s Shri Markendey Solapur Sahakari Rugnalaya

& Research Center Niyamit.

ARCHITECTS

ARCHITECTS UNITED

- 111/9, 14th Lane Prabhat Road

- Pune – 411004

- Phone: +91 20 25441426 / 25469176

- www.architectsunited.co.in

- VIDYUTSALLAGAR PVT. LTD.

- Electrical Consultant & Engineers

- Savitri, 113, Vinayak Society, Sahakar Nagar No. 1, Pune 9.

- vidyutsallagar.anup@gmail.com;

- 020-24224534, 9372465729

ENQUIRY FOR SITC OF 1010 kVA DG SET AND SYNCHRONIZATION PANEL

From:          ____________________________________,
____________________________________, 
____________________________________, 
____________________________________.

Date:	 ____________________________________.

To,

M/s Solapur Sahakari Rugnalaya Niyamit

on F.P. No. 19/2, Pachha Peth,

Solapur 413005.

Kind Attn.

Dear Sir / Madam,

Sub: - Supply and installation, testing and commissioning of 1 No. of 1010 KVA DG Set with Exhaust piping and related synchronization panel for M/S Solapur Sahakari Rugnalaya Niyamit, Solapur Maharashtra.

We have pleasure in submitting herewith Tender Quotation for the above-mentioned works, duly completed in all respects.

- We represent that we have the adequate experience and expertise in handling and delivering the Work as envisaged in the Enquiry as above in accordance with the quality and time period desired by you.

- We have read and studied the entire Enquiry Document for the proposed work we agree to abide by them.

- We agree to execute and complete the proposed work at the rates quoted herewith.

- We have inspected the site of works and acquainted ourselves with the local conditions. We will not claim any extra amounts for reasons arising out of site conditions. Rates quoted by us include all such eventualities.

- The rates quoted in the Enquiry shall be valid for three months from the date of opening of the Enquiry.

- The bid document shall be filled properly and all relevant information asked for shall be provided in due format.

- Bidders are requested to give deviations/comments/assumptions/alternatives clearly in deviation pages / separate pages based on their observations.

- Base BOQ shall not be altered. Deviations for technical specifications shall also be clearly given in the bids. Technical specifications for which deviations are not provided with the bids or not accepted during negotiations shall not be revised after order.

- I/we understand that you are not bound to accept the lowest or any tender you may receive. This Tender document shall be a part of the Contract.

I/ we do hereby offer to execute the work under the Item rate Contract at the respective rates mentioned in the Schedule of Quantities. Cost of this works out to

Rs…………………………………..……………………./-

(Rs.……………………………………………………………………………………………………………….………………………………………………………….Only)

Thanking you,

Yours faithfully,

Seal of Vendor							(Signature of Vendor)

TENDER DETAILS

- Sealed item rate tenders are invited on behalf of M/S- Shri Markendey Solapur Sahakari Rugnalaya & Research Center Niyamit, for Supply and installation, testing and commissioning of 1 No’s of 1010 KVA DG Set, as per BOQ

- The purchaser reserves the right to accept any tenders received after the expiry of the time notified.

- The duly completed and signed Tender document as well as one soft copy of Bill of Materials by email (in form of CD / pen drive) is to be enclosed in a sealed envelope super-scribed with the name of work and name of the Bidder clearly.

- This should be submitted at the office address mentioned below on dated 25/01/2023  19:00 Hrs.

M/S. Shri Markendey Solapur Sahakari Rugnalaya &

Research Center Niyamit

Solapur Sahakari Rugnalaya Niyamit

on F.P. No. 19/2, Pachha Peth,

Solapur 413005.

- The entire delivery of material is to be completed within 3-4 weeks from the date of letter of intent or work order

- The Owners at their sole discretion can accept any Tender or reject all the received Tenders. This note shall form part of the Contract.

- The Tender is an item rate Tender, though the total value of Contract shall appear on the letter of intent or work order, the successful Contractor shall be paid as per measured, erected and certified quantities of ‘Bill of Quantities’ on pro rata basis as per the payment terms.

- Submission of queries related to bid – on dated 21/01/2023,  17:00 Hrs.

Please note: - queries raised after dated 21/01/2023,   17:00 Hrs. will not be entertained.

- Please submit your queries & soft copy of BOQ  on following Email-ids.

vidyutsallagar.anup@gmail.com

vidyutsallagar.mandar@gmail.com

newbuildingmssrn@gmail.com,

tendermssrn@gmail.com,

pranav@architectsunited.co.in

In case, any clarification is required, the Bidders shall obtain the same from the Consultant/Client in writing. All such clarifications shall be binding both on the Purchaser/Consultant and the Bidder.

At any time prior to the deadline for submission of Bids, the Purchaser/Consultant may, for any reason, whether at its own initiative or in response to a clarification requested by a prospective Bidder, modify the tender document by amendments.

The prices & rates quoted by the Bidder’s shall be valid & shall be kept open for acceptance for a minimum period of ninety (90) days from the date of opening of tender.

The acceptance/ rejection of the quotation will rest with the purchaser, who does not bind himself to accept the lowest quotation or any quotation & reserves to himself the full rights for the following without assigning any reason whatsoever.

Whenever it is stated in this contract that such and such a supply is to be effected or such and such a work is to be carried out, or provided it shall be understood that the same shall be effected/carried out by the supplier within the contract price, unless a different intention is specifically and expressly stated herein or otherwise explicit from the context.

Project information: - 	Solapur Sahakari Rugnalaya Niyamit

on F.P. No. 19/2, Pachha Peth,

Solapur 413005.

Name of work: - 	Supply and Installation, Testing and Commissioning of 1 No. of 250 KVA DG Set as per BOQ.

Purchaser/ owner: - 	M/S. Shri Markendey Solapur Sahakari

Rugnalaya & Research Center Niyamit

Architect: -			ARCHITECTS UNITED

111/9, 14th Lane Prabhat Road

Pune – 411004

Phone: +91 20 25441426 / 25469176

www.architectsunited.co.in

Electrical consultant: -	VIDYUTSALLAGAR PVT LTD

ELECTRICAL CONSULTANT & ENGINEERS

SAVITRI, 113, VINAYAK SOCIETY,

SAHAKAR NAGAR NO. 1, PUNE 9.

Site conditions: -		Design ambient temperature

Maximum 	45º C

Minimum	14º C

Relative humidity: 50 % RH

Altitude above mean sea level: 457 feet

Installation: Indoor

DEFINITIONS AND INTERPRETATION

DEFINITIONS

Unless repugnant to the context or meaning thereof, in this tender document the following shall have the meaning assigned to them below

Authorized Signatory 
The Authorized Signatory shall be as specified by the Bidder.  In case the bid is submitted by a single Bidder, the Bidder shall provide a valid Power of Attorney authorizing the Authorized Signatory to submit the bid and represent/negotiate with the CLIENT /ARCHITECTS / ELECTRICAL CONSULTANT.

Applicable Approvals 
The Applicable Approvals means any and all “No Objection Certificates”, approvals, permissions, clearances, licenses, authorizations, consents, no objections from any Government Authority or any Person required in relation with the execution of proposed Agreement between the Company and the Selected Vendor or for undertaking, performing or discharging the obligation contemplated by this tender document or other agreements referred to in this tender document, including payments of any amounts hereunder, under the applicable Law or otherwise in connection with this tender document or other agreements referred to hereunder. 
(Note:  To get a list of tentative approvals from a list of authorities)

Bidder 
Bidder refers to the Qualified Bidder/s that is bidding for undertaking the Work.

Company/ Client shall mean M/S Solapur Sahakari Rugnalaya Niyamit, Solapur Maharashtra.

Contractor 
The selected Bidder shall mean the Bidder that finally enters into contract with the Company in relation to the Work.

Governmental Authorities
Governmental Authorities shall mean Local Industrial Development Authority, Pollution Control Board, Sub-registrar of assurances, FEDERAL Electrical and Water Authority , and/or any other applicable legislative body, regulatory or administrative authority, agency or commission or any court, board, bureau, instrumentality, tribunal or judicial or arbitral body, having jurisdiction over the territory of INDIA or any part thereof

Law/s 
Laws/s shall mean and include all statutes, enactments, acts of legislature or parliament, laws, ordinances, rules, bye-laws, regulations, notifications, guidelines, policies, directions, directives and orders of any Governmental Authority or court, including any amendments, re-enactment, substitution thereof, and shall include any subordinate legislation, rules and regulations of INDIA, from time to time.

Preferred Bidder
 Preferred Bidder shall mean the Bidder invited by the CLIENT /ARCHITECTS / ELECTRICAL CONSULTANT/PMC for final discussions and for entering into contract(s) for the Work.

Request for Proposal or tender document 
Request for Proposal shall mean this invitation to submit technical and financial proposal issued by the CLIENT /ARCHITECTS / ELECTRICAL CONSULTANT/PMC to the Qualified Bidders for selection of the Bidder in relation to the Work.

TENDER Document 
TENDER Document shall mean this document including all the documents referred to in this document being issued to the Bidders

Site Address:-

M/S. M/s Shri Markendey Solapur Sahakari Rugnalaya &

Research Center Niyamit

Solapur Sahakari Rugnalaya Niyamit

on F.P. No. 19/2, Pachha Peth,

Solapur 413005.

Tender
Tender shall refer to the technical and financial proposals of Bidders in response to this tender document organized in a manner specified herein.   This technical and financial proposal shall include the qualifications of the concerned Bidder/Bidding Consortium.

"Taxes" 
Taxes shall mean any and all applicable tax and taxes (including, but not limited to any Goods & Service Tax(GST), income tax, tax deducted at source, value added tax or sales tax, transfer duties, stamp or other duty, levy, impost, charge, fee, deduction, or withholding of any nature and howsoever called or described) whether imposed by the state or central Government, Governmental Authorities, and/or by whomsoever and where so ever imposed, levied, collected or assessed.

Work
Work shall mean the SITC of DG Set at Hospital building, including any / all infrastructure facilities proposed to be put up for the Hospital at Solapur (Maharashtra ), INDIA, as indicated by the ARCHITECT / ELECTRICAL CONSULTANT or such other point(s) as may be specified by the ARCHITECT.

Interpretation

In the interpretation of this tender document, unless the context otherwise requires: The singular of any defined term includes the plural and vice versa, and any word or expression defined in the singular has the corresponding meaning used in the plural and vice versa;

A reference to any gender includes the other gender

Unless otherwise stated, a reference to a Clause, Sub-Clause, Paragraph, Subparagraph, Annex, Exhibit, Attachment, Schedule or Recital is a reference to a Clause, Sub-Clause, Paragraph, Subparagraph, Annex, Exhibit, Attachment, Schedule or Recital of this tender document

A reference to any agreement is a reference to that agreement and all annexes, attachments, exhibits, schedules, appendices and the like incorporated therein, as the same may be amended, modified, supplemented, waived, varied, added to, substituted, replaced, renewed or extended, from time to time, in accordance with the terms thereof

The terms “include” and “including” shall be deemed to be followed by the words “without limitation”, whether or not so followed

A reference to a “writing” or “written” includes printing, typing, lithography and other means of reproducing words in a visible form

Any date or period set forth in this tender document shall be such date or period as may be extended pursuant to the terms of this tender document A reference to “month” shall mean a calendar month, and a reference to “day” shall mean a calendar day, unless otherwise specified

The terms "hereof, "herein", "hereto", "hereunder" or similar expressions used in this tender document mean and refer to this tender document and not to any particular Article, Clause or Section of this tender document. The terms "Article", "Clause", “Paragraph” and “Schedule” mean and refer to the Article, Clause, Paragraph and Schedule of this tender document so specified;

And the descriptive headings of Articles and Sections are inserted solely for convenience of reference and are not intended as complete or accurate descriptions of content thereof and shall not be used to interpret the provisions of this tender document.

MODIFICATION AND VARIATION: 
This Agreement may be amended, modified or cancelled, only in writing by the Company and the Vendor, or their duly Authorised Representatives. 
Since the Company is desirous that the supply of material be at subsidised rates, Bidders are requested to quote the cost of supply of each item and erection of each item separately. In case of such supplies, the Contractor will be paid for only erection work.

MATERIALS AND SERVICES:

The Contractor shall provide at his cost all material, tools, tackles, skilled manpower for proper execution of Works specified in the schedule of quantities and as per drawings and specifications. Any discrepancies in schedule of quantities and drawings shall be brought to notice of engineer / ARCHITECT / ELECTRICAL CONSULTANT /PMC /Company for decisions.

MATERIAL AND WORKMANSHIP: 
All the materials to be supplied for execution of shall be of first quality, new and strictly as per specifications.
All the work shall be executed with highest workmanship, and as directed by ARCHITECT / ELECTRICAL CONSULTANT /Company / PMC.
In case of non-availability of any approved material, approval for alternative make shall be taken from ARCHITECT / ELECTRICAL CONSULTANT and the Company prior to using such material.
The Contractor shall employ no child labour.
It is binding on Contractor to take all safety precautions at the time of execution of the Works.

LABOUR AND INSURANCE
Contractor shall be responsible for injury to person animal or things, for all damages caused to property from operations or negligence of himself or his employees/subcontractors. The contractor shall indemnify owner / Engineer and their employees and hold them harmless in respect of any and all expenses arising from such injury or damage and claims arising thereof. The damages to the property, plant and equipment caused due to such negligence shall be made good by the contractor at his own cost to the satisfaction of the owner / engineer within a specific time. The owner in concurrence with engineer shall be entitled to deduct amount of damage, compensation for loss arising from such damages/injuries/accidents in case of default. All laws related to PF, ESI, Medical insurance etc. shall be adhered to by the contractor. No child labour shall be employed by contractor.

INSURANCE:

Contractor shall insure all the equipment and work in his scope including necessary transit insurance. Insurance against injury to Person and Property Without prejudice to his liability to indemnify the Owner under Clause 45 of these conditions, the Contractor shall maintain and shall cause any Sub-Contractor to maintain: A. Such insurances as are necessary to civer the liability of the Contractor or as the case may be such Sub-Contractor, in respect of personal injuries or deaths arising out of or in the course of or caused by the carrying out of the work; and B. Such insurances as may be specifically required by the Contract Bills in respect of injury or damage to property real or personal arising out of or in the course of or by reason or the carrying out of the work, and caused by any negligence, omission or default of the Contractor, his servants or agents or, as the case may be of such Sub Contractor, his servants or agents. The Contractor shall produce or cause any Sub-Contractor to produce for inspection the relevant policy or policies of insurance together with the receipts in respect of premiums paid under such policy or policies as and when required so to do by the Architect provided always that as and when may be reasonably required by the Architect the production by either the Contractor or any Sub-Contractor of a current certificate of insurance from the company or firm which shall have issued the policy or policies afore side shall be a good discharge of the Contractor’s obligation to produce or to cause the production of the policy or policies and the receipts in respect of premium paid. The Contractor shall maintain in the joint names of the Owner and Contractor such insurances as may be required in respect of any expenses, liability, loss, claim or proceedings which the Owner may incur or sustain reason of injury or damage to property real or personal arising out of or in the course of or by reason of the carrying out of the work, and caused otherwise than by the negligence, omission or default of the Contractor , his servants or agents or any Sub-Contractor, his servants or agents. Any such insurance as is referred to in the immediately preceding paragraph shall be placed with insurers to be approved by the Architect and the Contractor shall have to deposit with him the policy or policies and the receipts in respect of premiums paid. Should the Contractor or any Sub-Contractor make default in continuing to insure as providing in sub-clauses (1) and (2) if this condition the Owner may himself insure against any risk with respect to which the default shall have occurred and may deduct a sum equivalent to the amount paid in respect of premiums from any monies due to or become due to the Contractor.

(ii) Insurance of the works against fire etc. A. The Contractor shall in the joint names of the Owner and Contractor insure against loss or damage by fire, storm, tempest, lightning, flood, earthquake, aircraft or anything dropped there from, aerial objects, riot and civil commotion for the full value thereof all work executed and all unfixed materials good intended for, delivered to and placed or adjacent to the work., but excluding temporary building plant, tools and equipment owned or hired by the Contractor or any Sub-Contractor and shall keep such work materials and goods so insured until virtual Completion of the work. Such insurances shall be with insurers approved by the Architect and the Contractor shall be deposit with the Architect the policy or policies and the receipts in respect of premiums paid ; and should the Contractor make default in insuring or continuing to insure as aforesaid the Owner may himself insure against any risk with respect of which the default shall have occurred and deduct a sum equivalent to the amount paid by him in respect of premium from any monies due to or to become due to the Contractor. Providing always that if the Contractor shall independently of his obligations under this contract maintain a policy of insurance which covers ( inter alia ) the said work, materials and goods against the aforesaid contingencies to the full value thereof then the maintenance by the Contractor of such policy shall if the Owners interest is endorsed thereon, be a discharge of the Contractor’s obligation to deposit with the Architect a policy or policies and the receipts in respect of premiums paid. (This clause is applicable to the erection of a new building if the Contractor is required to insure against loss or damage by fire etc.) B. Upon settlement of any claim under the insurances aforesaid the Contractor with due diligences shall restore work damaged, replace or repair unfixed materials or goods which have been destroyed or repair unfixed materials or goods which have been destroyed or injured, remove or dispose of any debris and proceed with the carrying out and completion of the work. All monies received from such insurances shall be paid to the Contractor by instalments under certificates of the Architect issued at the period of interim certificate named in the appendix to these conditions. The Contractor shall not be entitled to payment in respect of the restoration of work damaged the replacement and repair of any unfixed materials or goods and the removal and disposal of debris other that the monies received under the said insurances. All work executed and all unfixed materials and goods intended for, delivered to and placed on or adjacent to the works ( expect temporary buildings, plant, tools and equipment owned or hired by the Contractor or any Sub-Contractor ) shall be a the sole risk of the Owner as regards loss or damage by fire, storm, tempest, lightning, flood, earthquake, aircraft or anything any loss or damage affecting the work or any part thereof or any such unfixed materials or goods is occasioned by any one or more of the said contingencies then (This Clause is applicable to the erection of a new building if the Owner is to bear the risk in respect of loss or damage by fire etc.) A. The occurrence of such loss or damage shall be disregarded in computing any amounts payable to the Contractor under or by virtue of this Contract. B. The Contractor with due diligence shall restore work damaged, replace or repair any unfixed materials or goods which have been destroyed or injured, remove and dispose of any debris and proceed with carrying out and completion of the work. The restoration of work damaged the replacement and repair or unfixed materials and goods and the removal and disposal of debris shall be deemed to be variation required by Architect. The existing structure together with all the contents thereof and the works and all unfixed materials and goods intended for, delivered to and placed on or adjacent to the works ( except temporary buildings, plant, tools and equipment owned or hired by the Contractor or any Sub-Contractor ) shall be at the sole risk of the Owner as regards loss or damage by fire, storm, tempest, lightning, flood, earthquake, aircraft or anything dropped there from, aerial objects, riot and civil commotion, and the Owner shall maintain adequate insurance against that risk if any loss or damage affecting the work or any part thereof or any such unfixed materials or goods is occasioned by any one or more of the said contingencies then. (This clause is applicable to alterations of or extension to an existing building.)

LABOUR LAWS:

Contractor shall have valid PF, ESI registration. All laws related to Labour, PF, ESI, Medical insurance etc, shall be adhered to by contractor. No child Labour shall be employed by contractor.

GENERAL INSURANCE:

Contractor shall provide necessary insurance cover for all equipment and material in his scope till the system is handed over. Necessary insurance cover shall also be provided for man power employed on site. Contractor shall indemnify Owner/Engineer and their representatives employed and hold them harm less in case of any damages injuries /accidents and any claims arising out of them.

SUFFICIENCY OF SCHEDULE 
The Contractor shall be deemed to have satisfied him before tendering as to correctness and sufficiency of his tender for works and prices quoted therein which shall cover all obligations under contract for satisfactory completion of works. In case of direct purchase of material by the Company, the Contractor will only receive the erection charges for such material as quoted.

SCHEDULE OF QUANTITIES AND DRAWINGS

The schedule of quantities indicates nearest approximate quantities of the items of works. There is possibility of upward or downward variation of quantities due to Site modifications variation of quantities up plus / minus 10% of the quantities as per schedule shall be accepted by Contractor without any financial implication. The Contractor shall take exact measurements for items like cables, earth strips prior to bringing and cutting the same. If variation is beyond above stipulated limits such items shall be carried out after written mutual agreement

The drawings enclosed indicate extent and general arrangement of various equipment. These are for guidance of Contractor and exact dimensions, locations, clearance governed by Site conditions, buildings and statutory rules. The Contractor is required to go through the drawings and regulations prior to starting of works. Any discrepancy / changes required shall be reported to ARCHITECT / ELECTRICAL CONSULTANT and the Company. The Contractor shall prepare all working drawings and get them approved from the ARCHITECT / ELECTRICAL CONSULTANT prior to starting the Work

AUTHORITY AND LAW 
The Contractor shall confirm to all provisions of any Law that are and/or may be applicable to Works of any Governmental Authority or any Person

SUPERVISION 
A competent Authorized Representative of the Contractor shall be available at Site, for supervision of works, co-ordinating, receiving instructions from ARCHITECT / ELECTRICAL CONSULTANT /Company, during entire period of contract

ACCESS TO WORK
The ARCHITECT / ELECTRICAL CONSULTANT /Company /PMC or their respective Authorized Representative shall have access, to Works being carried out at all reasonable times. No person not authorized by ARCHITECT / ELECTRICAL CONSULTANT /Company /PMC except representatives of Government Authorities shall be allowed at the Site at any time

SUB-CONTRACT: 
The complete Work included in the contract, shall be executed by the Contractor, and the Contractor shall not sub-contract / sub-let work or part thereof, without prior express written consent from the ARCHITECT / ELECTRICAL CONSULTANT /Company /PMC. However, the Contractor shall not be relieved from the responsibility, of execution of works, as per contract under any circumstances

DATE OF COMMENCEMENT 
The Contractor shall take up commencement of work immediately, after the execution of the Agreement with the Company

CO-ORDINATION 
The Contractor or his Authorized Representative shall be responsible for co-ordination with all other agencies working at the Site for smooth functioning and timely completion of the Work. 
Site meetings as necessary weekly or bi-weekly shall be attend by qualified / responsible Authorised Representative from the Contractor’s side to take Site instruction / decision in view of troubleshooting and progress review of Works. The ARCHITECT / ELECTRICAL CONSULTANT / PMC his Authorized Representative shall attend the meeting. As a special requirement of this project the Contractor shall send visual proofs of work progress in form of photographs to the Company and the ARCHITECT / ELECTRICAL CONSULTANT periodically

MEASUREMENTS 
The measurements of completed work shall be taken jointly from time to time as mutually agreed. The Contractor shall send his Authorized Representative for assisting the Company and/or  the ARCHITECT or their respective Authorized Representatives for measurements and shall furnish all particulars required to complete the measurements.

COMPLETION CERTIFICATE 
The Work shall be deemed to have been completed on production of a written certificate by the Authorised Representative of the ARCHITECT / ELECTRICAL CONSULTANT that they have been finally completed. The “Defect Liability Period” shall commence from the date of such final completion certificate

DRAWINGS
ARCHITECT / ELECTRICAL CONSULTANT will prepare working drawings and issue them to tender wining contractor. These working drawings will comprise of various layouts and single line diagram (SLD). These drawings will be according to inputs, instructions received from all service consultants and architect. Contractor is expected to start the work only after getting approval from ARCHITECT / ELECTRICAL CONSULTANT for the shop drawings prepared by him.
During progress of work there may be some alteration, addition, deletions introduced by Client or Consultant or Architect, such alterations shall be incorporated in Shop Drawings in further revisions and he shall take approval from respective authority before execution.
Working Drawings do not cover the drawings, which are to submit to various authorising agencies (Power Supply Company, Electrical Inspector, Local Authority etc.). Such drawings are required to be in particular prescribed format by respective authorities hence contractor will prepare their drawings based on working drawings and approved shop drawings.
The list of working drawings and shop drawings will be issued to ARCHITECT / ELECTRICAL CONSULTANT at the time of commencement of project.
Contractor shall take care to prepare all the drawings in CAD format (Soft), with a proper care to make them in readable when printed.

Following technical details should be submitted by contractor to Client/Electrical consultant/Architect before procurement of any material.

- Data sheet

- Make of Material

- Performance Specification

- Technical catalogue & literature

- Installation Manual/Details

- Guarantee formats

- Test Certificates

- Service facility available

COMPLETION DRAWINGS-(AS BUILT DRAWINGS): 
On completion of Works prior to getting completion certificate, the Contractor shall prepare as built drawings in association and to satisfaction of the ARCHITECT / ELECTRICAL CONSULTANT giving all particulars

Exact dimensions and clearances

Fuse and switchgear ratings, ratings of equipment’s

Cable sizes

Cable tags details

Earthing details 
The Contractor shall also provide detailed drawings, instruction and maintenance manuals and test, repairs for all bought out items

TECHNICAL SCRUTINY OF FINAL BILL
The Company shall have the right to get works and bills technically scrutinised at the time of payment of final bill from the ARCHITECT. The Company shall be entitled to recover any money found to be over paid or over certified during the period of execution of the contract Work

REMOVAL OF WORK 
The Company and/or the ARCHITECT / ELECTRICAL CONSULTANT during the progress of the Work have powers to order in writing the removal from the Site any material / installation which in their opinion are not as per specifications or instructions for carrying out Works within specified time and the Contractor shall carry out such removals / reworks as per specification at his own cost

DEFECT LIABILITY PERIOD: 
Any defect, fault, deterioration in performance of the material, workmanship and installations which may appear; during the “Defect Liability Period” of twelve months from date of the final completion certificate issued by the ARCHITECT / ELECTRICAL CONSULTANT shall be amended / made good by the Contractor at his own cost within a reasonable time. In case of default the Company may employ and pay other Person to make good the defects and deduct the expenses from the dues payable to Contractor on certification from ARCHITECT / ELECTRICAL CONSULTANT

RESPONSIBILITY: 
The Contractor shall be responsible for injury to Person, animal or things for all damages caused to property from operations of neglect by himself or his employees, Authorized Representatives and/or sub contractors
The damages to the property, plant and equipment caused due to such negligence or wilful act or omission of the Contractor or its employees, representatives and/or sub-contractors shall be made good by the Contractor at his own cost to satisfaction of the Company within a specific time. The  Contractor shall indemnify the Company against all claims which may be made against the Company by any member of the public or other third party in respect of anything, which may arise in respect of the Works or in consequence thereof and shall at his own expense arrange to effect and maintain, until the final completion of the contract, with an approved policy of insurance in the joint names of the Company and the Contractor against such risks and deposit such polices with the ARCHITECT / ELECTRICAL CONSULTANT from time to time during the occurrence of this Agreement. The  Contractor shall similarly indemnify the Company against all claims, which may be made upon the Company whether under the applicable labour laws or any other statute in force during the currency of the Agreement and till the expiry of the Defective Liability Period, or at common law in respect of any employee of the Contractor or any sub-contractor and shall at his own expenses effect and maintain until the policy of insurance in the joint names of the Company and the Contractor against such risks and deposit such policy or policies with the ARCHITECT / ELECTRICAL CONSULTANT from time to time during the currency of the Agreement
The Contractor shall be responsible for anything, which may be excluded from the insurance policies above referred to and also for all other damages to any property arising out of and incidental to the negligence or defective carrying out of his contract. He shall also indemnify the Company in respect of any costs, charges or expense arising out of any claim or proceeding and also in respect of any award of or compensation of damage arising therefore
The Company in consultation with the ARCHITECT / ELECTRICAL CONSULTANT shall be entitled to deduct amount of damage, compensation loss arising from such damages / injuries / accidents in case of default 
In addition to the above, the Contractor shall indemnify the Company from and against any and all losses, damages, charges, claims and expenses, including reasonable attorney’s fees arising from claims or arising from or in relation to the following

Any workmanship in relation to the erection or installation which is later on found to be inaccurate or incomplete or faulty

Any breach or violation of any of the terms and conditions of or any obligation arising under the proposed Agreement; and

Any representation or warranty found to be false or misleading in any manner whatsoever

LIQUIDATED DAMAGES 
The Contractor shall pay liquidated damages of 0.5 % per day subject to a maximum of 10% of value of tender document in case of delays attributed to him against agreed time plan on each milestones.

TERMINATION OF CONTRACT 
The Company shall be entitled to terminate the Agreement , in case the Contractor fails to fulfil one or more conditions of contract, or if ARCHITECT / ELECTRICAL CONSULTANT certifies to the Company in writing that the Contractor has abandoned the contract has failed to commence the Work or has without any lawful excuse under contract conditions suspended the Work for more than one week has failed to proceed with the Work and failed to make such due progress for timely completion of the Work has failed persistently to observe and perform the Work as per specifications and contract conditions; and has employed services of sub-contractors / sub-let all or part of the Works without prior permission of the Company/the ARCHITECT / ELECTRICAL CONSULTANT In any of above said cases the Company, can terminate the Agreement after giving seven days notice in writing to the Contractor In cases of dispute, the contractor shall be at liberty to terminate the contract by giving thirty (30) days prior written notice to the Company. The Company shall also be entitled to recover any losses due to default of Contractor, incurred by him for carrying out / completing Works as certified by the ARCHITECT / ELECTRICAL CONSULTANT

CERTIFICATION AND PAYMENT 
The Contractor shall be paid by the Company from time to time under interim measurements certified by ARCHITECT / ELECTRICAL CONSULTANT on account of work executed in accordance with the contract and to the satisfaction of ARCHITECT / ELECTRICAL CONSULTANT with retention till the work is completely executed. On virtual completion of the works contractor shall be paid final instalment retaining five percent (5%) over a period known as “Defect Liability Period” as security. The final balance shall be payable to the contractor after expire of “Defect Liability Period” and after such certificate is issued by engineer / consultant.
Engineer / consultant shall have power to withhold payment against work or part thereof is not carried out to his satisfaction

ARBITRATION 
All the disputes of any kind in connection with contract shall be referred to the ARCHITECT / ELECTRICAL CONSULTANT and settled in writing with him. If any party is dissatisfied with such decision, except for clauses indicated in clause 21 they are entitled to bring such disputes for arbitration
Arbitrator / s shall be appointed by both parties in accordance with the provisions of the Arbitration and Conciliation Act, 1996 and his / their decision shall be final and binding on both parties

PRICES: 
The prices quoted in the schedule of works shall remain firm during the period of contract. Bidder shall clearly state taxes, statutory duties and levies which vendor is required to pay. Sales tax/VAT shall be to the Contractor’s account and that the Contractors will indemnify the Company for any liability incurred by the Company in this behalf.  Escalation of rates is not applicable for any reason. There are some items for “RATE ONLY” OR WITH QUANTITY AS ZERO (0). If the rates for such items are not quoted then the rate will be considered as zero (0), and will be used for bill certification.
As a special condition for this project, the electrical power and water required for execution work will have to be arranged by the contractor at his own cost. Client will not make any type of arrangement or provide any type of help in arranging these. Contractor shall take care of these expenses while preparing quotes.

EXTRA ITEMS AS REQUIRED BY COMPANY: 
The Contractor shall be required to carry out extra items due to Site requirements or changes. The Contractor shall carry out all such items after written consent from the Company. The Contractor shall submit a rate analysis of these items based on market rates. A margin of 10% shall be allowed over and above the expenses incurred. Escalation shall not be allowed on the extra items.

The cost of such extra Item should not exceed than 5% of the contract value.

PERFORMANCE GUARANTEE
The contractor shall guarantee performance of plant and equipment and workmanship against fault for a period of 12 months called as “Defect Liability Period” from the date of the final completion certificate
5% of work value shall be retained for the entire “Defect Liability Period” as security. Such retention can be released on furnishing a bank guarantee of a nationalized bank that is acceptable to the Company for the retention amount in favour of the Company

Defect Liability Period: 1 year from the date of final completion.

Final completion: The date on which the final certificate is issued & received from consultant to the client’s office.

Period of Final Bill Certification: 60 days from the date of the final bill received at the ARCHITECT’S office.

PAYMENT TERMS:

| Stage of payment |  | Percentage of Material cost as per order | Percentage of Installation cost as per order. |
| --- | --- | --- | --- |
| Advance |  | 10 % | 0% |
| Against Delivery of material on site. |  | 60% | 0% |
| Against virtual completion |  | 10% | 80% |
| Against Testing |  | 10% | 10% |
| Against total Commissioning |  | 5% | 5% |
| After Defect liability period |  | 5% | 5% |
| Total payment |  | 100% | 100% |

SCOPE INCLUDE

- Design, Supply, Installation, Testing and commissioning of new 1 No. 1010 KVA of DG Set with AMF logic and Synchronization ready.

- Completeness of the equipment shall be the responsibility of the supplier. Any equipment, fittings, and accessories which may not be specifically mentioned in the specification or drawings, but which are usual or necessary for the satisfactory functioning of equipment (successful operation and functioning of the equipment being supplier’s responsibility) shall be provided. Specifically it is a turnkey contract with sets handed over to direct use.

- All fitting and accessories or apparatus which may have not been specifically mentioned below, which are necessary and essential for the efficient working of the equipment, shall be deemed to be included in the scope.

- Transportation of DG set at Employer’s store at site should be part of scope.

- Packing of the Equipment suitable for (all) weather conditions for proper protection.

- Supervision of unloading of the DG set is also to be considered in the scope.

- Arranging to repair and/or re-order all damaged and short supply items.

- First fill of lube oil.

- Complete First fill of diesel.

- Exhaust piping to be done.

- Internal fuel piping.

- Mounting of DG Control Panel.

- Cabling between Alternator & DG Control Panel.

- Charging of Battery and connecting it with Engine.

- ½ hr. testing on available load.

- Drawing approvals permission to run and PWD registration of DG set (liaison with electrical inspector) Obtaining Statutory Approval (Official Fees to be paid by Client).

- Inspection testing and commissioning of all items installed by contractor at site for DG set related work.

- Final check-up, testing and commissioning in presence of Employer’s representative.

- Handing over set to Employer.

| SR.NO. | TECHNICAL PARTICULARS FOR DIESEL ENGINES |  |
| --- | --- | --- |
| 1 | Prime Power Rating kVA | 1010kVA |
| 2 | No. of Phases | 3 PHASE |
| 3 | Power Factor | 0.8 (LAG) |
| 4 | Cooling | LIQUID COOLED |
| 5 | Aspiration | TURBOCHARGED CHARGED AIR COOLED |
| 6 | No. of Cylinders | MULTICYLINDER |
| 7 | RPM | 1500 |
| 8 | B.H.P | 1100+/- |
| 9 | Governor | ELECTRONIC |
| 10 | Voltage | 415 V |
| 11 | RPM / Frequency | 1500 / 50 Hz |
| 12 | Enclosure | Suitable for outdoor application |
| 13 | Voltage Regulation | +/- 0.5% |
| 14 | Class of Installation | H Class |

Codes and standards

Goods supplied and installed under this contract shall conform to the codes and standards mentioned in the technical specifications, and when no applicable standard is mentioned, to the authoritative codes and standards appropriate to the good’s country of origin and such standards shall be the latest issued by the concerned institution.

Materials and Workmanship

The materials and workmanship shall meet the requirements of relevant standards and good engineering practices. In any case, the material shall be the best grade obtainable and the most suitable and proven for the purpose intended in accordance with the modern practices. All material shall be new.

Supply of the Materials shall be to the Specification of this Tender document and Installation shall be as described, as per drawings approved, instructions issued by consultant and/or the purchase from time to time. Certain jobs shall be as per prevailing practices of Maharashtra State Electricity Distribution Company Limited (MSEDCL) & IE codes.

The Contractor shall take into account prevailing ambient temperature / weather conditions at site while designing the equipment. Any de-rating factors related to ambient temperature shall be considered as per relevant IS specs.

This scope shall be generally as per Contract Agreement and shall include additional jobs or additional quantities as may be required to be carried out for the completion of the electrical installation work in the opinion of the Owners/ Consultant.  Any other jobs/ items required to be carried out shall be evaluated on the basis of similar item rates under the Contract. Where such similar items do not exist the Contractor shall submit cost analysis to arrive at the item rates for the approval of Owners/ Consultant. (Actual invoice / price list & discount, tax details shall be submitted along with rate analysis for each extra item.) Maximum 10 % overheads, profit, etc. shall be allowed to the contractor on landed cost accepted by Owners/ Consultant.

Scope shall include testing and commissioning of all items installed by contractor. Necessary support by manufacturer can / shall be provided.

Scope also includes unloading of free issue items at site, & storing of these items. Contractor’s person can accompany client’s representatives for shop inspection if necessary for above items.

Contractor has to carry out all works as per respective IS standards & I.E.C. All required tools & tackles, testing kits, measuring instruments, safety equipment’s shall be provided by contractor with skilled 
manpower required.

DOCUMENT SUPPORT FOR OBTAINING PERMISSIONS

Obtaining permission for installation as well as for running of Generator sets from both chief Electrical Inspector and State Electricity Board & Pollution Control Board will be done by client; vendor needs to provide required documents requested by the client.

DEVIATIONS FROM TECHNICAL SPECIFICATIONS

All deviations from technical specifications of contract shall be filled in hereby the bidder.

SECTION				CLAUSE NO.			DEVIATION

The bidder hereby certificates that the above mentioned are only deviations from technical Specifications of this enquiry.

Thanking you,

Yours faithfully,

Seal of Vendor							(Signature of Vendor)