## SMSSRN_LIGHT _FITTING_BOQ_
VIDYUTSALLAGAR PVT. LTD.
ELECTRICAL CONSULTANT AND ENGINEER
SAVITRI, 113, VINAYAK SOCIETY, SAHAKAR NAGAR NO. 1, PUNE 9.
Email: vidyutsallagar@gmail.com
| BOQ FOR LIGHT FITTINGS AND RELATED ERECTION WORK | [6 empty] | PHONE 020-24224534
DATE :-09-05-2022
PROJECT :-SHRI MARKANDEYA SOLAPUR SAHAKARI RUGNALAYA NIYAMIT_9 FLOORS
0
SR.NO. | PARTICULARS | QTY | UNIT | MATERIAL RATE | MATERIAL AMOUNT | ERECTION RATE | ERECTION AMOUNT | TOTAL AMOUNT
A | LIGHT FITTINGS AND FANS (CEILING AND EXHAUST )
Installation, testing & commsioning of following type of light and fan fixtures with all related accessories such as supporting rods/ropes/chains / MS pipes/MS or wooden Frames and necessary hardware etc. The rate shall be inclusive of fittings, Required drivers All accessories. Lamps. All luminaires shall be CERTIFIED for BIS, LEED with Reg- no. Warranty of Five years THD less than 7% The fittings with specified lumen package are expected.
TYPE OF LED FITTING - SMD TYPE
LUMINARY WILL BE PROVIDED WITH FOLLOWING PROTECTION • Output over voltage & under voltage Protection • Over temperature • Output over current and short circuit Auto Recovery • Input high voltage cut off Auto Recovery
1 | 38 W LED Reccess Mounted Square LIGHT FITTINGS , 4000Lumens | 10 | NOS. |  | 0 |  | 0 | 0
2 | 28 W LED TUBE LIGHT FITTINGS , 4000 Lumens | 630 | NOS. |  | 0 |  | 0 | 0
3 | 18 W LED Reccess Mounted DOWNLIGTHER LIGHT FITTINGS , 1000 Lumens | 1368 | NOS. |  | 0 |  | 0 | 0
4 | 14 W BATTERN LIGHT FITTINGS, 800 Lumens | 10 | NOS. |  | 0 |  | 0 | 0
5 | 10 W SPOT LIGHT FITTINGS, 800 Lumens | 0 | NOS. |  | 0 |  | 0 | 0
6 | 9 W LED Reccess Mounted DOWNLIGTHER LIGHT FITTINGS , 1000 Lumens | 387 | NOS. |  | 0 |  | 0 | 0
7 | SIGN BOARDS, with self battary backup for 30 min. fittings. Inclusive of mounting bracket or suspension arrangement as per the need. | 0 | NOS. |  | 0 |  | 0 | 0
8 | 8-10 W LED SECURITY SIGN BOARDS | 0 | NOS. |  | 0 |  | 0 | 0
9 | STREET LIGHT FITTINGS | 0 | NOS. |  | 0 |  | 0 | 0
10 | SIGNAGE LIGHT FITTINGS | 0 | NOS. |  | 0 |  | 0 | 0
11 | LED 10 W BULKHEAD LIGHT IN LIFT WELL | 60 | NOS. |  | 0 |  | 0 | 0
12 | CEILING FAN 1200 MM SWEEP, COLOUR - WHITE, BLDC TYPE | 414 | NOS. |  | 0 |  | 0 | 0
13 | EXHAUST FAN 300 mm SWEEP, COLOUR - BROWN/BLACK, LIGHT DUTY WITH REQUIRED MOUNTING FRAME USING MS/WOOD | 0 | NOS. |  | 0 |  | 0 | 0
| TOTAL OF SECTION A |  | 0 |  | 0 |  | 0 | 0
| GST 18% | [6 empty] | 0
| TOTAL PROJECT COST INCLUSIVE TAXES | [6 empty] | 0